## Slide 1
incident beam
diffracted beam
1st mirror
monochromator
2nd mirror
detector
1st crystal
2nd crystal
sample
Upstream from the sample
Downstream from the sample
Use Case: Beamline alignment
Choose Beam Shape (+ maximize intensity)
Often Iterative Process with a lot a degrees of freedom  takes a lot of time!!

## Slide 2
A set of Kirkpatrick-Baez mirrors
Simplified Use Case: KB mirrors
Parameters:
Output of DCM
Sample
Wide Range of different Beams
The User define an experiment that needs a certain beam:
dX, dY
KB Parameters
Regression
Input

## Slide 3
Dataset Generation
From Test_KB.instr available on McXtrace:
  Make Simulation closer to reality: reduce mirror size and distance to sample
  Find Limits i.e. min max of Beam Shape Via Optimize of McXtrace on dX, dY
  Define parameters space from limits
  Generate Dataset with mxrun 900 images of size 6464 ∼ 10’ on PC

## Slide 4
Our NN Architecture
Convolution Neural Network:

## Slide 5
TRAINING 1
Trained with 720 images on 50 epochs (batch_size=32)
Finals MAEs (8.8%)

## Slide 7
TRAINING 2
  (vs 13)
  (vs 11)
  (vs 0.14)
  (vs 0.16)
Finals MAEs (45% vs 8.8)

## Slide 8
Perspectives
On the Use Case:
  Increase Size of the Training Dataset?
  Explore a more complete range of the parameters
For the Future:
  Input more Beamline Optics (DCM, Mirrors, slits) and parameters
  Try to Maximize Intensity for a given Beam Shape
  Extend this method to different Energies